Uwin Technologies Co., Ltd

Model:GA-3 Gloucose monitor

Features:

1. Blood sample: fresh peripheral whole blood, venous whole blood

2. Calibration sample: venous plasma

3. Blood volume: 0.6μl

4. Test range: 20-600mg/dL (1.1-33.3mmol/L)

5. Test time: 10s

6. Memory: 200 test results (average value of 7days/14days/28days)

7. HTC:30-60%

8. Operating Tamp Range:10-40C

9. Battery:2*AAA battery(not including)